## flooding_curves
Infrastructure type | cable | line | minor_line | plant | substation | power_tower | power_pole | water_tower | water_well | reservoir_covered | water_works | reservoir | landfill | waste_transfer_station | wastewater_treatment_plant | railway | primary | secondary | tertiary | airports | communication_tower | mast | clinic | doctors | hospital | dentist | pharmacy | physiotherapist | alternative | laboratory | optometrist | rehabilitation | blood_donation | birthing_center | college | kindergarten | library | school | university
Type vulnerability data | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve |  |  |  |  | threshold | curve | curve | curve | curve | curve | curve
Unit | // |  |  | USD/plant | USD/station | USD/elevated crossing | USD/elevated crossing | USD/water tower | USD/well | USD/storage tank | USD/water work |  |  |  |  | euro/100m | million euro/km | million euro/km | million euro/km | euro/m2 |  |  | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | ? | ? | ? | 500000000 | 50000000 | 3000 | 3000 | 800000 | 400000 | 1500000 | 360000000 |  |  |  | 720000000 | 702200 | 0.25 | 0.225 | 0.175 | 1197 |  |  | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639
LowerDam | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a |  |  |  | n/a | n/a | n/a | n/a | n/a | n/a |  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
UpperDam | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a |  |  |  | n/a | n/a | n/a | n/a | n/a | n/a |  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Notes | [15 empty] | MaxDam: reference year unknown (2006?); calculated for Austria | MaxDam: reference year is 2010; based on damage euro/m2 for Europe | MaxDam: reference year is 2010; based on damage euro/m2 for Europe | MaxDam: reference year is 2010; based on damage euro/m2 for Europe | MaxDam: reference year is 2000, for the Netherlands |  |  | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world | MaxDam: reference year is 2010; based on 'damage building based max damage structure' for the world
Depth (cm)\factor
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | [6 empty] | 0 |  | 0 | [5 empty] | 0.016662 |  |  |  | 0.01 | 0.008 | 0.008
20 | 0 | [6 empty] | 0 |  | 0 | [5 empty] | 0.19304 |  |  |  | 0.2 | 0.16 | 0.16
30 | 0 | 0 | 0 | 0.025 | 0.02 | 0 | 0 | 0 | 0.01 | 0 | 0.03 |  |  |  | 0 |  |  |  |  | 0.3 | 0.24 | 0.24
50 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.23 | 0.23 | 0.23 | 0.5 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32
60 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.544 | 0.354 | 0.354
61 | 0 | 0 | 0 | 0.05 | 0.04 | 0 | 0 | 0 | 0.02 | 0 | 0.05 |  |  |  | 0.05 |  |  |  |  | 0.5464 | 0.3574 | 0.3574
91 | 0 | 0.01 | 0.01 | 0.075 | 0.06 | 0.01 | 0.01 | 0 | 0.05 | 0 | 0.075 |  |  |  | 0.08 |  |  |  |  | 0.6184 | 0.4594 | 0.4594
100 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.4 | 0.4 | 0.4 | 0.64 | 0.49 | 0.49 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51
122 | 0 | 0.01 | 0.01 | 0.1 | 0.07 | 0.01 | 0.01 | 0 | 0.2 | 0 | 0.16 |  |  |  | 0.1 |  |  |  |  | 0.6928 | 0.5648 | 0.5648
140 | 0 | [6 empty] | 0 |  | 0 | [5 empty] | 1 |  |  |  | 0.736 | 0.626 | 0.626
146 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.7504 | 0.6464 | 0.6464
150 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.58 | 0.58 | 0.58 | 0.76 | 0.66 | 0.66 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63
152 | 0 | 0.01 | 0.01 | 0.125 | 0.08 | 0.01 | 0.01 | 0 | 0.25 | 0 | 0.27 |  |  |  | 0.17 |  |  |  |  | 0.7648 | 0.6668 | 0.6668
183 | 0 | 0.01 | 0.01 | 0.15 | 0.09 | 0.01 | 0.01 | 0 | 0.3 | 0 | 0.35 |  |  |  | 0.24 |  |  |  |  | 0.8392 | 0.7722 | 0.7722
200 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.68 | 0.68 | 0.68 | 0.88 | 0.83 | 0.83 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74
212 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.8984 | 0.8708 | 0.8708
213 | 0 | 0.02 | 0.02 | 0.175 | 0.1 | 0.02 | 0.02 | 0 | 0.3 | 0 | 0.35 |  |  |  | 0.3 |  |  |  |  | 0.8991 | 0.8742 | 0.8742
244 | 0 | 0.02 | 0.02 | 0.2 | 0.12 | 0.02 | 0.02 | 0 | 0.3 | 0 | 0.35 |  |  |  | 3 |  |  |  |  | 0.9208 | 0.9796 | 0.9796
248 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.9236 | 0.9932 | 0.9932
250 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.925 | 1 | 1
274 | 0 | 0.02 | 0.02 | 0.25 | 0.14 | 0.02 | 0.02 | 0 | 0.3 | 0 | 0.35 |  |  |  | 0.3 |  |  |  |  | 0.9418 | 1 | 1
300 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.8 | 0.8 | 0.8 | 0.96 | 1 | 1 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86
305 | 0 | 0.02 | 0.02 | 0.3 | 0.15 | 0.02 | 0.02 | 0 | 0.3 | 0 | 0.4 |  |  |  | 0.4 |  |  |  |  | 0.9635 | 1 | 1
329 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.9803 | 1 | 1
350 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 0.995 | 1 | 1
400 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.89 | 0.89 | 0.89 | 1 | 1 | 1 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
402 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
421 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
450 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
487 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
500 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 0.89 | 0.89 | 0.89 | 1 | 1 | 1 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98
560 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
600 | 0 | [6 empty] | 0 |  | 0 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
627 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
628 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
715 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
779 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
782 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
877 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
999 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1
1003 | 0 | [6 empty] | 0 |  | 0 | [9 empty] | 1 | 1 | 1

## max_flooding_damage
| cable | line | minor line | plant | substation | power tower | power pole | water tower | water well | reservoir covered | water works | reservoir | landfill | waste transfer station | water waste treatment plant | railway | primary | secondary | tertiary | airport | communication tower | mast | clinic | doctors | hospital | dentist | pharmacy | physiotherapist | alternative | laboratory | optometrist | rehabilitation | blood donation | birthing center | college | kindergarten | library | school | university
lower_range
max_damage
upper_range