## flooding_curves
Infrastructure type | cable | line | minor_line | plant | substation | power_tower | power_pole | water_tower | water_well | reservoir_covered | water_works | reservoir | landfill | waste_transfer_station | wastewater_treatment_plant | railway | motorway | trunk | primary | secondary | tertiary | other | airports | communication_tower | mast | clinic | doctors | hospital | dentist | pharmacy | physiotherapist | alternative | laboratory | optometrist | rehabilitation | blood_donation | birthing_center | college | kindergarten | library | school | university
Type vulnerability data | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve |  | curve | curve | curve | threshold | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve | curve
Unit | euro/m | euro/m | euro/m | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility |  | euro/m2 | euro/m2 | euro/facility | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m2 | euro/facility | euro/facility | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | 5343.1359 | 1442.3968 | 800.9494 | 442420326.6443 | 32176023.756 | 201757.7514 | 35565.727 | 965280.7127 | 482640.3563 | 1117312.4249 | 197078145.5052 |  | 559.5434 | 559.5434 | 394156291.0104 | 8433.422 | 900 | 600 | 250 | 225 | 175 | 75 | 1197 | 2413201.7817 | 148865.1734 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682
LowerDam | 724.3262 | 214.0055 | 98.7718 | 120660089.0848 | 12066008.9085 | 35488.8518 | 16924.86 | 723960.5345 | 361980.2673 | 36198.0267 | 36198026.7254 |  | 419.6576 | 419.6576 | 72396053.4509 | 6325.0665 | 675 | 450 | 187.5 | 168.75 | 131.25 | 56.25 | 897.75 | 1809901.3363 | 90112.0904 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512
Upperdam | 15145.0021 | 3292.3918 | 1501.3306 | 603300445.4241 | 60330044.5424 | 685836.7547 | 56125.7244 | 1206600.8908 | 603300.4454 | 1809901.3363 | 434376320.7053 |  | 699.4293 | 699.4293 | 868752641.4107 | 10541.7775 | 1125 | 750 | 312.5 | 281.25 | 218.75 | 93.75 | 1496.25 | 3016502.2271 | 270336.2713 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853
Misschien toch aanpassen naar zelfde vulnerability curve for lines --> in FEMA zeggen ze wel iets over cables (p360)
Depth (cm)\factor
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | [6 empty] | 0 | [7 empty] | 0.016662 | [6 empty] | 0.01 |  | 0.008
20 | 0 | [6 empty] | 0 | [7 empty] | 16.073 | [6 empty] | 0.2 |  | 0.16
30 | 0 | 0 | 0 | 0.025 | 0.02 | 0 | 0 | 0 | 0.01 | 0 | 0.03 |  |  |  | 0 | [7 empty] | 0.3 | 0 | 0.24
50 | 0 | [6 empty] | 0 |  |  |  |  | 0.3 | 0.3 |  |  | 0.23 | 0.23 | 0.23 | 0.23 | 0.23 | 0.23 | 0.5 |  | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32
60 | 0 | [6 empty] | 0 | [14 empty] | 0.544 |  | 0.354
61 | 0 | 0 | 0 | 0.05 | 0.04 | 0 | 0 | 0 | 0.02 | 0 | 0.05 |  |  |  | 0.05 | [7 empty] | 0.5464 | 0 | 0.3574
91 | 0 | 0.01 | 0.01 | 0.075 | 0.06 | 0.01 | 0.01 | 0 | 0.05 | 0.0125 | 0.075 |  |  |  | 0.08 | [7 empty] | 0.6184 | 0.01 | 0.4594
100 | 0 | [6 empty] | 0 |  |  |  |  | 0.48 | 0.48 |  |  | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.64 |  | 0.49 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51
122 | 0 | 0.01 | 0.01 | 0.1 | 0.07 | 0.01 | 0.01 | 0 | 0.2 | 0.0125 | 0.16 |  |  |  | 0.1 | [7 empty] | 0.6928 | 0.01 | 0.5648
140 | 0 | [6 empty] | 0 | [7 empty] | 1 | [6 empty] | 0.736 |  | 0.626
146 | 0 | [6 empty] | 0 | [14 empty] | 0.7504 |  | 0.6464
150 | 0 | [6 empty] | 0 |  |  |  |  | 0.6 | 0.6 |  |  | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.76 |  | 0.66 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63
152 | 0 | 0.01 | 0.01 | 0.125 | 0.08 | 0.01 | 0.01 | 0 | 0.25 | 0.0125 | 0.27 |  |  |  | 0.17 | [7 empty] | 0.7648 | 0.01 | 0.6668
183 | 0 | 0.01 | 0.01 | 0.15 | 0.09 | 0.01 | 0.01 | 0 | 0.3 | 0.0125 | 0.35 |  |  |  | 0.24 | [7 empty] | 0.8392 | 0.01 | 0.7722
200 | 0 | [6 empty] | 0 |  |  |  |  | 0.69 | 0.69 |  |  | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.88 |  | 0.83 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74 | 0.74
212 | 0 | [6 empty] | 0 | [14 empty] | 0.8984 |  | 0.8708
213 | 0 | 0.02 | 0.02 | 0.175 | 0.1 | 0.02 | 0.02 | 0 | 0.3 | 0.0125 | 0.35 |  |  |  | 0.3 | [7 empty] | 0.8991 | 0.02 | 0.8742
244 | 0 | 0.02 | 0.02 | 0.2 | 0.12 | 0.02 | 0.02 | 0 | 0.3 | 0.0125 | 0.35 |  |  |  | 0.3 | [7 empty] | 0.9208 | 0.02 | 0.9796
248 | 0 | [6 empty] | 0 | [14 empty] | 0.9236 |  | 0.9932
250 | 0 | [6 empty] | 0 | [14 empty] | 0.925 |  | 1
274 | 0 | 0.02 | 0.02 | 0.25 | 0.14 | 0.02 | 0.02 | 0 | 0.3 | 0.0125 | 0.35 |  |  |  | 0.3 | [7 empty] | 0.9418 | 0.02 | 1
300 | 0 | [6 empty] | 0 |  |  |  |  | 0.82 | 0.82 |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.96 |  | 1 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86
305 | 0 | 0.02 | 0.02 | 0.3 | 0.15 | 0.02 | 0.02 | 0 | 0.3 | 0.0125 | 0.4 |  |  |  | 0.4 | [7 empty] | 0.9635 | 0.02 | 1
329 | 0 | [6 empty] | 0 | [14 empty] | 0.9803 |  | 1
350 | 0 | [6 empty] | 0 | [14 empty] | 0.995 |  | 1
400 | 0 | [6 empty] | 0 |  |  |  |  | 0.92 | 0.92 |  |  | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 1 |  | 1 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
402 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
421 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
450 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
487 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
500 | 0 | [6 empty] | 0 |  |  |  |  | 0.99 | 0.99 |  |  | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 1 |  | 1 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98
560 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
600 | 0 | [6 empty] | 0 |  |  |  |  | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
627 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
628 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
715 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
779 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
782 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
877 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
999 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1
1003 | 0 | [6 empty] | 0 | [14 empty] | 1 |  | 1

## correction_without_inflation
Infrastructure type | cable | line | minor_line | plant | substation | power_tower | power_pole | water_tower | water_well | reservoir_covered | water_works | reservoir | landfill | waste_transfer_station | wastewater_treatment_plant | railway | motorway | trunk | primary | secondary | tertiary | other | airports | communication_tower | mast | clinic | doctors | hospital | dentist | pharmacy | physiotherapist | alternative | laboratory | optometrist | rehabilitation | blood_donation | birthing_center | college | kindergarten | library | school | university
Unit | USD/mile | USD/mile | USD/mile | USD/plant | USD/station | USD/tower | USD/pole | USD/water tower | USD/well | USD/storage tank | USD/water work |  | euro/m2 | euro/m2 | USD/WWTP | euro/100m | million euro/km | million euro/km | million euro/km | million euro/km | million euro/km | million euro/km | euro/m2 | USD/communication tower | USD/mast | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | 8114368.3333 | 2190500 | 1216364 | 366666666.6667 | 26666666.6667 | 256761.9583 | 45261.8333 | 800000 | 400000 | 926000 | 163333333.3333 |  | 543 | 543 | 326666666.6667 | 702200 | 0.9 | 0.6 | 0.25 | 0.225 | 0.175 | 0.075 | 1197 | 2000000 | 175000 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639
LowerDam | 1100000 | 325000 | 150000 | 100000000 | 10000000 | 45164 | 21539 | n/a | n/a | 30000 | 30000000 |  | n/a | n/a | 60000000 | n/a | n/a | n/a | n/a | n/a | n/a |  | n/a | n/a | 100000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
UpperDam | 23000000 | 5000000 | 2280000 | 500000000 | 50000000 | 872813 | 71427 | n/a | n/a | 1500000 | 360000000 |  | n/a | n/a | 720000000 | n/a | n/a | n/a | n/a | n/a | n/a |  | n/a | n/a | 300000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Year | 2006 | 2006 | 2006 | 2001 | 2001 | 2021 | 2021 | 2001 | 2001 | 2001 | 2001 |  | 2010 | 2010 | 2001 | 2006? | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2000 | 2001 | 2018 max.dam. - 2015 for ranges | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010
Country | USA | USA | USA | USA | USA | USA | USA | USA | USA | USA | USA |  | Global average | Global average | USA | Austria | Europe | Europe | Europe | Europe | Europe | Europe | Netherlands | USA | USA | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average
List of constants
|  | 1 mile = | 1609.344 | m
|  | Euro to dollar exchange rates (average/year) |  |  |  | exchange rates extracted from: https://www.ofx.com/en-gb/forex-news/historical-exchange-rates/yearly-average-rates/
|  | 2001 | 0.89597
|  | 2006 | 1.2563
|  | 2015 | 1.1097
|  | 2018 | 1.181
|  | 2021 | 1.2028
Correction unit + 25% range in cases of absent LowerDam and UpperDam
Unit | euro/m | euro/m | euro/m | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility |  | euro/m2 | euro/m2 | euro/facility | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m2 | euro/facility | euro/facility | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | 4013.3491 | 1083.4166 | 601.611 | 409240349.4615 | 29762934.5063 | 213471.2663 | 37630.5779 | 892888.0352 | 446444.0176 | 1033517.9007 | 182297973.851 |  | 543 | 543 | 364595947.7021 | 7022 | 900 | 600 | 250 | 225 | 175 | 75 | 1197 | 2232220.088 | 148178.1287 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639
LowerDam | 544.0576 | 160.7443 | 74.1897 | 111611004.3986 | 11161100.4399 | 37549.2395 | 17907.4721 | 669666.0264 | 334833.0132 | 33483.3013 | 33483301.3196 |  | 407.25 | 407.25 | 66966602.6392 | 5266.5 | 675 | 450 | 187.5 | 168.75 | 131.25 | 56.25 | 897.75 | 1674165.066 | 90112.0904 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25 | 479.25
Upperdam | 11375.7505 | 2472.9892 | 1127.6831 | 558055021.9929 | 55805502.1993 | 725654.6009 | 59384.2337 | 1116110.044 | 558055.022 | 1674165.066 | 401799615.8349 |  | 678.75 | 678.75 | 803599231.6698 | 8777.5 | 1125 | 750 | 312.5 | 281.25 | 218.75 | 93.75 | 1496.25 | 2790275.11 | 270336.2713 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75 | 798.75

## correction_reference_year
Infrastructure type | cable | line | minor_line | plant | substation | power_tower | power_pole | water_tower | water_well | reservoir_covered | water_works | reservoir | landfill | waste_transfer_station | wastewater_treatment_plant | railway | motorway | trunk | primary | secondary | tertiary | other | airports | communication_tower | mast | clinic | doctors | hospital | dentist | pharmacy | physiotherapist | alternative | laboratory | optometrist | rehabilitation | blood_donation | birthing_center | college | kindergarten | library | school | university
Unit | USD/mile | USD/mile | USD/mile | USD/plant | USD/station | USD/tower | USD/pole | USD/water tower | USD/well | USD/storage tank | USD/water work |  | euro/m2 | euro/m2 | USD/WWTP | euro/100m | million euro/km | million euro/km | million euro/km | million euro/km | million euro/km | million euro/km | euro/m2 | USD/communication tower | USD/mast | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | 8114368.3333 | 2190500 | 1216364 | 366666666.6667 | 26666666.6667 | 256761.9583 | 45261.8333 | 800000 | 400000 | 926000 | 163333333.3333 |  | 543 | 543 | 326666666.6667 | 702200 | 0.9 | 0.6 | 0.25 | 0.225 | 0.175 | 0.075 | 1197 | 2000000 | 175000 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639 | 639
LowerDam | 1100000 | 325000 | 150000 | 100000000 | 10000000 | 45164 | 21539 | n/a | n/a | 30000 | 30000000 |  | n/a | n/a | 60000000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 100000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
UpperDam | 23000000 | 5000000 | 2280000 | 500000000 | 50000000 | 872813 | 71427 | n/a | n/a | 1500000 | 360000000 |  | n/a | n/a | 720000000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 300000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Year | 2006 | 2006 | 2006 | 2001 | 2001 | 2021 | 2021 | 2001 | 2001 | 2001 | 2001 |  | 2010 | 2010 | 2001 | 2006? | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2000 | 2001 | 2018 max.dam. - 2015 for ranges | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010
Country | USA | USA | USA | USA | USA | USA | USA | USA | USA | USA | USA |  | Global average | Global average | USA | Austria | Europe | Europe | Europe | Europe | Europe | Europe | Netherlands | USA | USA | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average | Global average
STEP 1
Correct to reference year of 2015
Source for USA inflation rates: https://www.usinflationcalculator.com/
Source for global average: https://www.macrotrends.net/countries/WLD/world/inflation-rate-cpi
Source for Netherlands: https://inflatie.info/?amount=1&currency=0&year-from=2000&year-to=2015
Source for Austria: https://www.worlddata.info/europe/austria/inflation-rates.php
Inflation rate (%) | 17.6 | 17.6 | 17.6 | 33.9 | 33.9 | -12.8 | -12.8 | 33.9 | 33.9 | 33.9 | 33.9 |  | 3.0467 | 3.0467 | 33.9 | 20.1 | // | // | // | // | // | // | 34 | 33.9 | -5.6 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467 | 3.0467
MaxDam | 9542497.16 | 2576028 | 1430444.064 | 490966666.6667 | 35706666.6667 | 223896.4277 | 39468.3187 | 1071200 | 535600 | 1239914 | 218703333.3333 |  | 559.5434 | 559.5434 | 437406666.6667 | 843342.2 | 0.9 | 0.6 | 0.25 | 0.225 | 0.175 | 0.075 | 1603.98 | 2678000 | 165200 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682
LowerDam | 1293600 | 382200 | 176400 | 133900000 | 13390000 | 39383.008 | 18782.008 | n/a | n/a | 40170 | 40170000 |  | n/a | n/a | 80340000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 100000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
UpperDam | 27048000 | 5880000 | 2681280 | 669500000 | 66950000 | 761092.936 | 62284.344 | n/a | n/a | 2008500 | 482040000 |  | n/a | n/a | 964080000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 300000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
STEP 2
Correction unit + 25% range in cases of absent LowerDam and UpperDam
List of constants
|  |  | 1 mile = | 1609.344 | m
Euro to dollar exchange rates (average/year)
|  |  | 2015 | 1.1097
exchange rates extracted from: https://www.ofx.com/en-gb/forex-news/historical-exchange-rates/yearly-average-rates/
Unit | euro/m | euro/m | euro/m | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility | euro/facility |  | euro/m2 | euro/m2 | euro/facility | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m | euro/m2 | euro/facility | euro/facility | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2 | euro/m2
MaxDam | 5343.1359 | 1442.3968 | 800.9494 | 442420326.6443 | 32176023.756 | 201757.7514 | 35565.727 | 965280.7127 | 482640.3563 | 1117312.4249 | 197078145.5052 |  | 559.5434 | 559.5434 | 394156291.0104 | 8433.422 | 900 | 600 | 250 | 225 | 175 | 75 | 1197 | 2413201.7817 | 148865.1734 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682 | 658.4682
LowerDam | 724.3262 | 214.0055 | 98.7718 | 120660089.0848 | 12066008.9085 | 35488.8518 | 16924.86 | 723960.5345 | 361980.2673 | 36198.0267 | 36198026.7254 |  | 419.6576 | 419.6576 | 72396053.4509 | 6325.0665 | 675 | 450 | 187.5 | 168.75 | 131.25 | 56.25 | 897.75 | 1809901.3363 | 90112.0904 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512 | 493.8512
Upperdam | 15145.0021 | 3292.3918 | 1501.3306 | 603300445.4241 | 60330044.5424 | 685836.7547 | 56125.7244 | 1206600.8908 | 603300.4454 | 1809901.3363 | 434376320.7053 |  | 699.4293 | 699.4293 | 868752641.4107 | 10541.7775 | 1125 | 750 | 312.5 | 281.25 | 218.75 | 93.75 | 1496.25 | 3016502.2271 | 270336.2713 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853 | 823.0853
Note on Z15: Nirandjan, S.:for 2018, apply only on maxdam, not ranges

## power_points
Construction costs poles - 69 kV
| A/C Transmission – Wood Pole – Single circuit | A/C Transmission – Wood Pole – Double circuit
tangent structure | 21539 | 35564
running angle structure | 37717 | 62249
angled deadend structure | 43075 | 71427 |  | average | 45261.8333
Source: MISO (2021)
Construction costs towers
| A/C Transmission – Steel Tower – Single circuit - 69 kV | A/C Transmission – Steel Tower – Single circuit - 500 kV | A/C Transmission – Steel Tower – Double circuit - 69 kV | A/C Transmission – Steel Tower – Double circuit - 500 kV | HVDC Transmission – Steel Tower – Single circuit - 250kV | HVDC Transmission – Steel Tower – Single circuit - 600kV
tangent structure | 45164 | 185828 | 70219 | 287788 | 70941 | 138045
running angle structure | 70342 | 300351 | 105238 | 442105 | 127805 | 225858 | max | 872813
non-angled deadend structure | 87777 | 405457 | 132840 | 621649 | 157104 | 288643 | min | 45164
angled deadend structure | 118672 | 580272 | 177248 | 872813 | 230505 | 419623 | average | 256761.9583
Source: MISO (2021)